#### SRW logo rgb w pos MIA Weekly Snapshot

 11 November 2024

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Glenmaggie volume in storage** | Glenmaggie volume to date is **156,170 ML** or **87.9%,** with available space of **21,470 ML.**Historical storage volumes in Lake Glenmaggie.

|  |  |  |  |
| --- | --- | --- | --- |
| **Date** | **Historical Volume (ML)** | **%** | **Space (ML)** |
| 11 November 2023 | 173,126 | 97.5 | 4,514 |
| 1 November -10 Year Avg. | 166,509 | 93.7 | 11,131 |

 |
|  |  |
| **Natural inflows** | On 11 November 2024, combined natural inflows into Lake Glenmaggie from the Macalister River at Stringybark Creek and Glenmaggie Creek have decreased. Today’s combined inflows are **230 ML/d**, with average inflows of **250 ML/d** over the last 7 days. Todays combined natural Inflows.

|  |  |
| --- | --- |
| Macalister River atStringybark Creek (ML/d) | Glenmaggie Creek (ML/d) |
| 223 | 7 |

 Water harvest available into Lake Glenmaggie.

|  |  |  |
| --- | --- | --- |
| Today’s Inflows (ML/d) | Passing flow Required (ML/d) | Available Harvest (ML/d) |
| 230 | 60 | 170 |

Total monthly inflows to date against the 10-year avg.

|  |  |
| --- | --- |
| Date  | Monthly Inflows (ML) |
| To 11 November 2024 |  3,079 |
| To 11 November - 10 Year Avg. |  13,938 |
| November 10 Year Average |  39,279 |

Previous month’s natural inflows against the 10-year avg.

|  |  |  |
| --- | --- | --- |
| Month | Total Inflows (ML) | 10-year Avg. Inflows (ML) |
| October | 22,141 | 67,049 |

 |
|  |  |
| Allocation | The allocation for the 2024-25 irrigation season has been reviewed and is now 100% of High Reliability Water Shares (HRWS) for MIA customers. The next allocation review will occur on 15 December 2024.More information on the allocation process can be found on the SRW website: [https://www.srw.com.au/customer/general-information/allocations/allocation-macalister#](https://www.srw.com.au/customer/general-information/allocations/allocation-macalister)  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Irrigation deliveries | Estimated water delivered for the 23-24 season in the MIA.

|  |  |  |
| --- | --- | --- |
| **Month** | **Cumulative Delivered to Date (ML) (includes estimate)** | **5 Year Avg Deliveries (ML)** |
| July – Aug  | 497.0 | 3,408.0 |
| September  | 6,811.0 | 9,542.0 |
| October (to date) | 23,039.0 | 18,701.0 |
| November (to date) | 34,344.8 | 29,531.0 |

 |
|  |  |
|  |  |
|  |  |
| Channel flowsThomson entitlement | Daily and avg. flows on main channels for the last 7 days.

|  |  |  |
| --- | --- | --- |
| Channel | Todays Flow (ML/d) | Avg. Flow Last 7 Days (ML/d) |
| Main Southern | 601 | 571 |
| Main Northern | 274 | 230 |
| Main Eastern | 233 | 210 |
| Cowwarr (supplying district) | 5 | 5 |

Details of water in Thomson for the 24-25 season.

|  |  |
| --- | --- |
| **Thomson Water** | **Total ML**  |
| SRW share of storage capacity  |  45,000 ML |
| Total Thomson entitlement remaining to MID customers |  42,996 ML |
| Usage to date  |  1,402 ML |
| Current Thomson water order  |  50 ML/d |
| November inflows (to 7/11) |  122 ML |
| November 10 Yr. Avg inflows |  1,308 ML |
| Thomson Drought Reserve payback required |  0 ML |
| Total Inflows |  5,104 ML |

 |
|  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monthly rainfall | Monthly rainfall total against 10-year average for the Glenmaggie area.

|  |  |  |
| --- | --- | --- |
| Month | Rainfall (mm) | 10 yr. Avg Rainfall (mm) |
| August  |  24.2 | 38.1 |
| September  |  47.2 | 42.0 |
| October  |  46.0 | 70.3 |
| November (to date) |  1.2 | 74.2 |

 |
| Enviro releasesWeekly weather outlook |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| River System | Total Available  | Delivery to date  | Remaining  | Start date | End date |
| Thomson River | 7,272 ML | 5,755 ML | 1,517 ML | 31/10 | 20/11 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| River System | Total Available  | Delivery to date  | Remaining  | Start date | End date |
| MacalisterRiver | 5,685 ML | 1,775 ML |  3,910 ML | 31/10 | 30/11 |

Temperatures this week will range from 21 to 30 degrees. Showers are possible Tuesday, Wednesday and Sunday.  |